## Capex On-premise
SURVEI CAPEX ON-PREMISE — DRC KOTA BOGOR
Kelompok 1 · Estimasi harga berdasarkan E-Katalog LKPP, Bhinneka, dan marketplace (2026)
ℹ️ Transfer rate simulasi: 43.4 MB/s (347 Mbps) — Spesifikasi server dirancang agar bandwidth replikasi tidak menjadi bottleneck ¦ Sumber harga: E-Katalog LKPP / Bhinneka / Tokopedia (estimasi 2025)
💰 RINCIAN BIAYA KOMPONEN (CAPEX — Biaya Investasi Awal)
# | Komponen | Nama | Spesifikasi | Qty | Harga Satuan (Rp) | Total (Rp) | Sumber | Catatan
1 | Server Rack 2U (Site A — Primary) | Server Dell Power Edge R350, Xeon E-2356G, 16GB, 1,2TB SAS | PowerEdge R350 (Rack) Intel Xeon E-2356G 3.2GHz, 12M Cache, 6C/12T, Turbo (80W), 3200 MT/s 16GB UDIMM, 3200MT/s, ECC 1.2TB Hard Drive SAS ISE 12Gbps 10k 512n 2.5in with 3.5in HYB CARR | 1 | 43800000 | 43800000 | https://www.tokopedia.com/gwjtech/server-dell-power-edge-r350-xeon-e-2356g-16gb-1-2tb-sas | Server utama layanan Dukcapil & SIKDA
2 | Server Rack 2U (Site B — DRC) | Server Dell Power Edge R350, Xeon E-2356G, 16GB, 1,2TB SAS | PowerEdge R350 (Rack) Intel Xeon E-2356G 3.2GHz, 12M Cache, 6C/12T, Turbo (80W), 3200 MT/s 16GB UDIMM, 3200MT/s, ECC 1.2TB Hard Drive SAS ISE 12Gbps 10k 512n 2.5in with 3.5in HYB CARR | 1 | 43800000 | 43800000 | https://www.tokopedia.com/gwjtech/server-dell-power-edge-r350-xeon-e-2356g-16gb-1-2tb-sas | Server DRC — recovery site
3 | NAS / Storage Backup | SYNOLOGY DS423+ DiskStation 4 Bay NAS Storage Server Backup Desktop - Garansi Pro-2 | Drive Bays: 4 M.2 Drive Slots: 2 (NVMe) Compatible Drive Type* (See all supported drives): 3.5" SATA HDD 2.5" SATA SSD M.2 2280 NVMe SSD | 1 | 5360000 | 11044500 | https://www.tokopedia.com/phanstorecom/synology-ds423-diskstation-4-bay-nas-storage-server-backup-desktop-garansi-pro-2-1731200229896783182?extParam=ivf%3Dfalse%26keyword%3D%224-bay+nas%2C+4%C3%972tb+hdd%2C+raid-5+ex%3A+synology+ds423%2B+atau+qnap+ts-464%22%26search_id%3D20260613025243CD00692C3BFE59227UW3%26src%3Dsearch&t_id=1781318882420&t_st=2&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | Penyimpanan backup incremental & differential
4 | Close Rack Cabinet 19" 20U | Indorack Close Rack 20U Glass Door Rack Server 19" Depth 600mm IR6020G | Product ID: IR6020G Size : 20U (1U = 44,45 mm) Dimension : 600 × 600 × 1100 mm (Depth × Width × Heigth) Weight : +/- 65Kg Warranty : 3 Years - For Electircal Parts | 2 | 5360000 | 10720000 | Tokopedia (https://www.tokopedia.com/indorack-networking/indorack-close-rack-20u-glass-door-rack-server-19-depth-600mm-ir6020g) | 1 rack per site (Site A & Site B)
5 | UPS Online 2000VA Rackmount | APC SRV2KI SRV2000I SRV2000 SRV2K SMART UPS ONLINE 2000VA 1600WATT | 2000VA - 1600watt - 230V- lcd display- pure sinewave- gelombang sinus murni- support software- smart ups online- software- batt int 12v 9ah x4- dimensi 40cm x 23,8cm x 14,5cm | 2 | 11060000 | 22120000 | https://www.tokopedia.com/innovatech-official/apc-srv2ki-srv2000i-srv2000-srv2k-smart-ups-online-2000va-1600watt?extParam=ivf%3Dfalse%26keyword%3D%222000va+%2F+1600w%2C+double+conversion+online%2C+lcd+ex%3A+apc+srv2ki+%2F+prolink+2000va%22%26search_id%3D202606130255145B8ADD2A5D98B1280JZ6%26src%3Dsearch&t_id=1781318882420&t_st=3&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | 1 UPS per site, backup ~15 menit
6 | Managed Switch 1 Gbps (8-port) | TP-LINK TL-SG108E 8-Port/8 Port Gigabit Easy Smart Switch/TL SG108E | TL-SG108E Easy Smart Switch 8-Port Gigabit 8 10/100/1000Mbps RJ45 ports | 2 | 428900 | 857800 | https://www.tokopedia.com/pronetindo/tp-link-tl-sg108e-8-port-8-port-gigabit-easy-smart-switch-tl-sg108e?extParam=ivf%3Dfalse%26keyword%3Dtp-link+tl-sg108e+atau+cisco+sg110%26search_id%3D20260613025757A8C88A0055F636320PTO%26src%3Dsearch&t_id=1781318882420&t_st=5&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | 1 switch per site untuk segmentasi VLAN
7 | Kabel UTP Cat6 + Patch Panel | Kabel Cat6 30m, Patch panel 12-port Terminasi antar perangkat dalam rack | 30 m, Tingkat Transmisi: 1000 Mbps Bandwidth Transmisi: 250 MHz Jenis Selubung Kabel: PVC Tipe Kabel: Tanpa pengait (hook) Grade Kabel: CAT6 Konektor: 2× RJ-45 male (Plug RJ-45) | 1 | 89793 | 89793 | https://www.tokopedia.com/upliftish/kabel-lan-cat6-10m-15m-20m-30m-40m-50m-60m-70m-80m-100m-outdoor-indoor-kabel-patch-cord-utp-rj45-cat6e-komputer-broadband-lan-cable-wifi-cctv-1731879470517224963?extParam=ivf%3Dtrue%26keyword%3Dkabel+cat6+30m%2C+patch+panel+12-port+terminasi+antar+perangkat+dalam+rack%26search_id%3D20260613025930577BCC914F9E5537BCLL%26src%3Dsearch&t_id=1781318882420&t_st=6&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | Infrastruktur kabel antar perangkat
8 | AC Precision / AC Split Server Room | AC Daikin Flash Inverter 1,5 PK Type FTKQ35UVM4 | 1,5 PK, Dedicate server room | 1 | 7509000 | 7509000 | https://www.tokopedia.com/daikin-proshop-pt-ssm/ac-daikin-flash-inverter-1-5-pk-type-ftkq35uvm4?extParam=ivf%3Dfalse%26keyword%3Dac+daikin+%2F+panasonic+1.5+pk+inverter+ruang+server%26search_id%3D2026061303022100411460F7C92D276MO3%26src%3Dsearch&t_id=1781318882420&t_st=8&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | Pendingin ruang server (DRC site B)
9 | Lisensi OS Server (Windows Server 2022 Std) | Windows Server Standar 2022 64Bit 16Core Original | Windows Server Standar 2022 64Bit 16Core Original | 1 | 13499000 | 13499000 | https://www.tokopedia.com/lezz-computech/windows-server-standar-2022-64bit-16core-original?extParam=ivf%3Dfalse%26keyword%3Dwindows+server+2022+standard+16-core+atau+gunakan+ubuntu+server+lts+%28gratis%29%26search_id%3D20260613030430577BCC914F9E5511A2AZ%26src%3Dsearch&t_id=1781318882420&t_st=9&t_pp=search_result&t_efo=search_pure_goods_card&t_ef=goods_search&t_sm=&t_spt=search_result | Opsional jika menggunakan Windows; Ubuntu = Rp 0
10 | Instalasi & Konfigurasi Jaringan | Jasa teknisi: pasang rack, server, kabel, konfigurasi VLAN Estimasi 2-3 hari kerja | Instalasi & konfigurasi jaringan LAN / WLAN Instalasi Access Point, Router, dan Switch | 1 | 6000000 | 6000000 | Estimasi jasa IT lokal Bogor (https://www.pilarconnect.com/jasa-instalasi-server-dan-rack-server/) | Biaya tenaga ahli setup awal
11 | Pemeliharaan Tahunan (support & spare parts) | Vendor | Garansi extended, spare parts, kunjungan teknisi ~5-10% dari nilai hardware/tahun | 1 | 10000000 | 10000000 | Estimasi vendor | Biaya OPEX tahunan (BUKAN bagian CAPEX awal)
RINGKASAN BIAYA
CAPEX AWAL (tanpa pemeliharaan tahunan) | [5 empty] | 159440093 | Total investasi hardware + software + instalasi
Biaya Pemeliharaan Per Tahun (OPEX) | [5 empty] | 10000000 | Biaya rutin tahunan setelah instalasi
Estimasi Total Biaya 3 Tahun | [5 empty] | 189440093 | CAPEX awal + OPEX 3 tahun
Estimasi Total Biaya 5 Tahun | [5 empty] | 209440093 | CAPEX awal + OPEX 5 tahun